June 2018

|  |  |  |
| --- | --- | --- |
|  |  |  |

**Product Guide Specification**

Specifier Notes: This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, based on *MasterFormat 2016* and *The Project Resource Manual—CSI Manual of Practice. The Manufacturer is responsible for technical accuracy.*

The section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code. Words and sentences within brackets [ ] are choices to include or exclude a particular item or statement. Coordinate this section with other specification sections and the Drawings. Delete all “Specifier Notes” after editing this section.

**Section 28 21 00: Video Surveillance**

**Section 28 21 13: IP Cameras**

**2 MP FACE RECOGNITION AI NETWORK CAMERA**

1. **– GENERAL**
   1. SUMMARY
      1. Section Includes
         1. Section 28 21 17: Video Surveillance – Surveillance Cameras – Camera Housings
         2. Section 28 21 19: Video Surveillance – Surveillance Cameras – Camera Mounts
         3. Section 28 21 21: Video Surveillance – Surveillance Cameras – Illuminators
         4. Section 28 27 00: Video Surveillance – Video Surveillance Sensors
      2. Related Sections
         1. [Section 28 33 15: Security Detection, Alarm and Monitoring – Security Monitoring and Control – Security Monitoring and Control Software].

\*\*\*\*\*\*\*\*\*\*Specifier’s note: Include those standards referenced elsewhere in this SECTION.

* 1. REFERENCES
     1. Federal Communications Commission (FCC) ([www.fcc.gov](http://www.fcc.gov))
        1. FCC Part 15 Subpart B
     2. Safety
        1. Underwriters Laboratories, Inc. (UL) (www.ul.com)
           1. UL60950-1
        2. CE
           1. EN 60950:2000
     3. HD standards
        1. Complies with the SMPTE 274M-2008 Standard in:
           1. Resolution: 1920x1080
           2. Scan: Progressive
           3. Color representation: complies with ITU-R BT.709
           4. Aspect ratio: 16:9
           5. Frame rate: 25 and 30 frames/s
        2. Complies with the 296M-2001 Standard in:
           1. Resolution: 1280x720
           2. Scan: Progressive
           3. Color representation: complies with ITU-R BT.709
           4. Aspect ratio: 16:9
           5. Frame rate: 25, 30, 50 and 60 frames/s
           6. Interference-Causing Equipment Standards
  2. SYSTEM DESCRIPTION
     1. Section Includes
        1. Video Surveillance – Surveillance Cameras – IP Cameras
     2. Performance Requirements
        1. The AI camera shall be a full-featured box camera designed for discrete video surveillance applications in indoor and outdoor environments.
        2. The AI camera shall offer Artificial Intelligence at the edge – performing complex real-time facial recognition and facial feature comparison without the need for an external database.
        3. The AI camera shall support an on-board database that stores up to 10,000 face images
        4. The AI camera shall offer Starlight Technology for ultra-low light sensitivity that produces color images in light down to 0.001 lux at F1.2.
        5. The AI camera shall provide direct network connection using Smart H.265+ and Smart H.264+ compression and bandwidth throttling to efficiently manage bandwidth and storage requirements while delivering outstanding image quality.
        6. The AI camera shall offer a mechanical day/night IR cut filter that delivers color images during daylight and automatically switches to a monochrome image as the scene darkens.
        7. The AI camera shall be a high performance 1/1.9-in. progressive-scan CMOS sensor with 2 MP resolution at 60 fps.
        8. The AI camera shall support the following dual, redundant power options:
           1. 12 VDC or 24 VAC
           2. PoE (802.3af, class 0)
           3. The AI camera shall default to use power from the PoE power supply, if connected.
           4. The AI camera shall reboot and switch to the 12 VDC or the 24 VAC power supply if power from the PoE power supply is lost.
        9. The AI camera shall offer True Wide Dynamic Range (120 dB) for clear images in extreme high-contrast environments.
        10. The AI camera shall offer the Intelligent Video System to detect and analyze moving objects for improved video surveillance.
        11. The AI camera shall offer People Counting and Heat Map business analytics.
        12. The AI camera shall conform to the ONVIF standard to provide interoperability with other conformant systems.
        13. The AI camera shall offer three separate and configurable streams with individually configurable streams.
  3. SUBMITTALS

* + 1. Submit under provisions of Section [01 33 00.]
    2. Product Data:
       1. Manufacturer’s data, user and installation manuals for all equipment and software programs including computer equipment and other equipment required for complete video management system.
    3. Dimensional Drawings; include
       1. Overall device dimensions.
       2. Dimensions specific for installation.
    4. Closeout Submittals
       1. User manual.
       2. Parts list.
       3. Maintenance requirements.
  1. QUALITY ASSURANCE
     1. Manufacturer:
        1. Minimum of [10] years of experience in manufacture and design Video Surveillance Devices.
     2. Video Surveillance System:
        1. List certifying bodies (UL, CSA, etc.)
        2. Provide evidence of compliance upon request.
     3. Installer:
        1. Minimum of [5] years of experience installing Video Surveillance System.
  2. DELIVERY, STORAGE AND HANDLING
     1. Comply with requirements of Section 01 60 00.
     2. Deliver materials in manufacture’s original, unopened, undamaged containers; and unharmed original identification labels.
     3. Protect store materials from environmental and temperature conditions following manufacturer’s instructions.
     4. Handle and operate products and systems according to manufacturer’s instructions.
  3. WARRANTY
     1. Provide manufacturer’s warranty covering [5] years for replacement and repair of defective equipment. Warranty varies country to country.
  4. MAINTENANCE
     1. Make ordering of new equipment for expansions, replacements, and spare parts available to dealers and end users.
     2. Provide factory direct technical support via phone and e-mail.

1. **– PRODUCTS**
   1. MANUFACTURERS
      1. [Acceptable Manufacturer:

Dahua Technology USA Inc.

23 Hubble, Irvine, CA 92618

Tel: (949) 679-7777

Fax: (949) 679-5760

Email: [sales.usa@global.dahuatech.com](mailto:sales.usa@global.dahuatech.com)]

* + 1. Substitutions: [Not permitted.] [Under provisions of Division 1.]
       1. [All proposed substitutions must be approved by the Architect or Engineer professional.]
       2. [Proposed substitutions must provide a line-by-line compliance documentation.]
  1. 2 MP FACE RECOGNITION AI NETWORK CAMERA DH-IPC-HF8242FN-FR  
     1. General Characteristics:
        1. The AI camera shall be a full-featured box camera designed for discrete video surveillance applications in indoor and outdoor environments.
        2. The AI camera shall offer Artificial Intelligence at the edge – performing complex real-time facial recognition and facial feature comparison without the need for an external database.
        3. The AI camera shall support an on-board database that stores up to 10,000 face images
        4. The AI camera shall offer Starlight Technology for ultra-low light sensitivity that produces color images in light down to 0.001 lux at F1.2.
        5. The AI camera shall provide direct network connection using Smart H.265+ and Smart H.264+ compression and bandwidth throttling to efficiently manage bandwidth and storage requirements while delivering outstanding image quality.
        6. The AI camera shall offer a mechanical day/night IR cut filter that delivers color images during daylight and automatically switches to a monochrome image as the scene darkens.
        7. The AI camera shall be a high performance 1/1.9-in. progressive-scan CMOS sensor with 2 MP resolution at 60 fps.
        8. The AI camera shall support the following dual, redundant power options:
           1. 12 VDC or 24 VAC
           2. PoE (802.3af, class 0)
           3. The AI camera shall default to use power from the PoE power supply, if connected.
           4. The AI camera shall reboot and switch to the 12 VDC or the 24 VAC power supply if power from the PoE power supply is lost.
        9. The AI camera shall offer True Wide Dynamic Range (120 dB) for clear images in extreme high-contrast environments.
        10. The AI camera shall offer the Intelligent Video System to detect and analyze moving objects for improved video surveillance.
        11. The AI camera shall offer People Counting and Heat Map business analytics.
        12. The AI camera shall conform to the ONVIF standard to provide interoperability with other conformant systems.
        13. The AI camera shall offer three separate and configurable streams with individually configurable streams.
     2. Imaging
        1. The AI camera shall offer a 1/1.9-inch type progressive-scan CMOS imager.
        2. The AI camera shall offer an effective number of pixels of 1920 1080 (2 MP) effective picture elements.
        3. The AI camera shall produce a color image with a minimum scene illumination of 0.001 lux at F1.2 and a monochrome image with a minimum illumination of 0.0005 lux at F1.2
        4. The AI camera shall support a C/CS lens mount.
     3. Video Characteristics
        1. The AI camera shall offer VBR bit rate control.
        2. The AI camera shall offer the following video compression protocols
           1. H.265 (14 to 6144 Kbps)
           2. H.264 (24 to 10240 Kbps)
        3. The AI camera shall offer BLC, HLC, and True WDR (120 dB) modes of backlight compensation.
        4. The AI camera shall offer Auto, Natural, Street Lamp, Outdoor, and Manual modes.
        5. The AI camera shall offer 3D DNR noise reduction.
        6. The AI camera shall offer motion detection (four zones) and region of interest (four zones) controls.
        7. The AI camera shall offer four (4) privacy masking areas.
     4. Streaming Capability
        1. The AI camera shall generate 1920 x 1080 pixels at 30 fps resolution using Smart H.265+ compression.
        2. The AI camera shall offer Unicast and Multicast streaming methods.
        3. The AI camera shall offer the following resolutions:
           1. 1080p (1920 x 1080)
           2. 1.3 MP (1280 x 960)
           3. 720p (1280 x 720)
           4. D1 (704 x 480)
           5. VGA (640 x 480)
        4. The AI camera shall generate three streams at the following maximum resolutions:
           1. Main Stream: 2 MP at 60 fps
           2. Sub Stream 1: D1 at 60 fps
           3. Sub Stream 2: 1080p at 60 fps
     5. IP Connectivity
        1. The AI camera shall allow full camera control and configuration capabilities via a TCP/IP network.
        2. The AI camera shall deliver 2 MP video at rates up to 60 frames per second via TCP/IP over an RJ-45 (100/1000 Base-T) connection.
        3. The AI camera shall conform to the ONVIF, PSIA, and the CGI standard.
        4. The AI camera shall offer Quality of Service (QoS) configuration options.
        5. The AI camera shall support the IPv6 internet-layer protocol for packet switched internetworking across multiple IP networks.
        6. The AI camera shall offer local and network storage options that include: MicroSD, Network Attached Storage (NAS), and recording to a local PC for instant recording.
        7. The AI camera shall support the following protocols: HTTP, TCP, ARP, RTSP, RTP, UDP, RTCP, SMTP, FTP, DHCP, DNS, DDNS, PPPOE, IPv4/v6, SNMP, QoS, UPnP, NTP.
        8. The AI camera shall support the Smart PSS and DSS management software.
        9. The AI camera shall support the Android and the IOS mobile operating systems.
     6. Interface
        1. The AI camera shall offer one (1) BNC video output port.
        2. The AI camera shall offer one (1) RS485 port.
        3. The AI camera shall offer two (2) audio input channel, one (1) built-in microphone and one (1) audio output channel.
        4. The AI camera shall offer two (2) alarm input channels and two (2) alarm (relay) output channels.
     7. Artificial Intelligence
        1. The AI camera shall store up to 10,000 face images on board.
        2. The AI camera shall offer five separate libraries to organize the face images.
        3. The AI camera shall automatically extract the following facial features and store the data:
           1. Age
           2. Gender
           3. Expression
           4. Wearing Glasses
           5. Wearing a Mask
           6. Facial Hair
     8. Intelligent Video System
        1. The AI camera offer a built-in Intelligent Video System to provide advanced analytics for any scene.
        2. The Intelligent Video System shall offer intelligent video analytics built-in to the AI camera.
        3. The Intelligent Video System shall be capable of processing and analyzing video within the camera itself, with no extra hardware required.
        4. The Intelligent Video System shall trigger an alarm and take a defined action for the following events:
           1. Standard Features

Tampering with the camera.

Error writing to an onboard Micro SD Card.

Error sending or receiving data over the network.

Unauthorized access to the camera.

* + - * 1. Premium Features

Motion: object moves through any part of the scene.

Tripwire: a target crosses a user-defined line.

Intrusion: a target enters or exits a defined perimeter.

Scene Change: a person or object moves the camera to change the scene or covers the camera to obscure the scene.

Abandoned/Missing Object: a target leaves an object in a designated area, or a target removes and object from the same designated area.

* + - * 1. Advanced Features

People Counting: Measure the number of customers, visitors or passengers in a surveillance scene.

Heat Map: generates a visual representation of data.

* + 1. Installation Requirements
       1. The AI camera shall be capable of operating in an outdoor environment within a temperature range of –30° C to +60° C (–22° F to 140° F).
       2. The AI camera shall accept power, transmit video, and accept control via a TCP/IP connection.
       3. The AI camera shall support the following dual, redundant power options:
          1. 12 VDC or 24 VAC
          2. PoE (802.3af, class 0)
          3. The AI camera shall default to use power from the PoE power supply, if connected.
          4. The AI camera shall reboot and switch to the 12 VDC or the 24 VAC power supply if power from the PoE power supply is lost.
    2. Housing Options
       1. The AI camera shall be offered in a metal housing.
  1. ACCESSORIES
     1. The AI camera shall offer the following optional accessories:
        1. [Wall mount.]
        2. [Power adapter.]

1. **– EXECUTION**
   1. EXAMINATION
      1. Examine areas to receive devices and notify adverse conditions affecting installation or subsequent operation.
      2. Do not begin installation until unacceptable conditions are corrected.
   2. PREPARATION
      1. Protect devices from damage during construction.
   3. INSTALLATION
      1. Install devices in accordance with manufacturer’s instruction at locations indicated on the floor drawings plans.
      2. Perform installation with qualified service personnel.
      3. Install devices in accordance with the National Electrical Code or applicable local codes.
      4. Ensure selected location is secure and offers protection from accidental damage.
      5. Location must provide reasonable temperature and humidity conditions, free from sources of electrical and electromagnetic interference.
   4. FIELD QUALITY CONTROL
      1. Test snugness of mounting screws of all installed equipment.
      2. Test proper operation of all video system devices.
      3. Determine and report all problems to the manufacturer’s customer service department.
   5. ADJUSTING
      1. Make proper adjustment to video system devices for correct operation in accordance with manufacturer’s instructions.
      2. Make any adjustment of camera settings to comply with specific customer’s need.
   6. DEMOSTRATION
      1. Demonstrate at final inspection that video management system and devices functions properly.

END OF SECTION