OCTOBER 2019

|  |  |  |
| --- | --- | --- |
|  |  |  |

**Product Guide Specification**

Specifier Notes: This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, based on *MasterFormat 2016* and *The Project Resource Manual—CSI Manual of Practice. The Manufacturer is responsible for technical accuracy.*

The section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code. Words and sentences within brackets [ ] are choices to include or exclude a particular item or statement. Coordinate this section with other specification sections and the Drawings. Delete all “Specifier Notes” after editing this section.

**Section 28 21 00: Video Surveillance**

**Section 28 21 13: IP Cameras**

**2 MP 4X STARLIGHT WIFI PTZ NETWORK CAMERA**

1. **– GENERAL**
   1. SUMMARY
      1. Section Includes
         1. Section 28 21 17: Video Surveillance – Surveillance Cameras – Camera Housings
         2. Section 28 21 19: Video Surveillance – Surveillance Cameras – Camera Mounts
         3. Section 28 27 00: Video Surveillance – Video Surveillance Sensors
      2. Related Sections
         1. [Section 28 33 15: Security Detection, Alarm and Monitoring – Security Monitoring and Control – Security Monitoring and Control Software].

\*\*\*\*\*\*\*\*\*\*Specifier’s note: Include those standards referenced elsewhere in this SECTION.

* 1. REFERENCES
     1. Electromagnetic Compatibility
        1. FCC Part 15 Subpart B
        2. ANSI C63.4-2014
     2. Underwriters Laboratories, Inc. (UL) (www.ul.com)
        1. UL60950-1 + CAN/CSA C22.2, No.60950-1
     3. European Standards
        1. EN 55032
        2. EN 55024
        3. EN 50130-4
     4. HD standards
        1. Complies with the SMPTE 274M-2008 Standard in:
           1. Resolution: 1920x1080
           2. Scan: Progressive
           3. Color representation: complies with ITU-R BT.709
           4. Aspect ratio: 16:9
           5. Frame rate: 25 and 30 frames/s
        2. Complies with the 296M-2001 Standard in:
           1. Resolution: 1280x720
           2. Scan: Progressive
           3. Color representation: complies with ITU-R BT.709
           4. Aspect ratio: 16:9
           5. Frame rate: 25, 30, 50 and 60 frames/s
           6. Interference-Causing Equipment Standards
  2. SYSTEM DESCRIPTION
     1. Section Includes
        1. Video Surveillance – Surveillance Cameras – IP Cameras
     2. Performance Requirements
        1. The 2 MP Starlight Network WiFi PTZ camera shall be a full-featured 2 MP network camera designed for discrete video surveillance applications in indoor and outdoor environments.
        2. The 2 MP Starlight Network WiFi PTZ camera shall support the IEEE 802.11b/g/n WiFi networks.
        3. The 2 MP Starlight Network WiFi PTZ camera shall operate on the WiFi 2.4 GHz band.
        4. The 2 MP Starlight PTZ camera shall provide direct network connection using Smart H.265+ andH.264 compression and bandwidth throttling to efficiently manage bandwidth and storage requirements while delivering outstanding image quality.
        5. The 2 MP Starlight Network WiFi PTZ camera shall offer Starlight Technology for ultra-low light sensitivity that produces color images in light down to 0.005 lux at F1.6.
        6. The 2 MP Starlight Network WiFi PTZ camera shall achieve an operational temperature down to –30 °C (–22 °F).
        7. The 2 MP Starlight Network WiFi PTZ camera shall offer a 1/2.8 in. STARVIS™ CMOS sensor with an effective pixel density of 1920 x 1080 at 30 fps.
        8. The 2 MP Starlight Network WiFi PTZ camera shall have a motorized lens with a focal length between 2.7 mm to 11.0 mm and an autofocus lens with 4x optical zoom.
        9. The 2 MP Starlight Network WiFi PTZ camera shall offer True Wide Dynamic Range (120 dB) for clear images in extreme high-contrast environments.
        10. The 2 MP Starlight Network WiFi PTZ camera shall offer an Intelligent Video System with facial detection.
        11. The 2 MP Starlight Network WiFi PTZ camera housing shall conform to the IP66 Ingress Protection rating.
        12. The 2 MP Starlight Network WiFi PTZ camera housing shall conform to the IK10 Vandal Resistance standard.
  3. SUBMITTALS

* + 1. Submit under provisions of Section [01 33 00.]
    2. Product Data:
       1. Manufacturer’s data, user and installation manuals for all equipment and software programs including computer equipment and other equipment required for complete video management system.
    3. Dimensional Drawings; include
       1. Overall device dimensions.
       2. Dimensions specific for installation.
    4. Closeout Submittals
       1. User manual.
       2. Parts list.
       3. Maintenance requirements.
  1. QUALITY ASSURANCE
     1. Manufacturer:
        1. Minimum of [10] years of experience in manufacture and design Video Surveillance Devices.
     2. Video Surveillance System:
        1. List certifying bodies (UL, CSA, etc.)
        2. Provide evidence of compliance upon request.
     3. Installer:
        1. Minimum of [5] years of experience installing Video Surveillance System.
  2. DELIVERY, STORAGE AND HANDLING
     1. Comply with requirements of Section 01 60 00.
     2. Deliver materials in manufacture’s original, unopened, undamaged containers; and unharmed original identification labels.
     3. Protect store materials from environmental and temperature conditions following manufacturer’s instructions.
     4. Handle and operate products and systems according to manufacturer’s instructions.
  3. WARRANTY
     1. Provide manufacturer’s warranty covering [5] years for replacement and repair of defective equipment. Warranty varies country to country.
  4. MAINTENANCE
     1. Make ordering of new equipment for expansions, replacements, and spare parts available to dealers and end users.
     2. Provide factory direct technical support via phone and e-mail.

1. **– PRODUCTS**
   1. MANUFACTURERS
      1. [Acceptable Manufacturer:

Dahua Technology USA Inc.

23 Hubble, Irvine, CA 92618

Tel: (949) 679-7777

Fax: (949) 679-5760

Email: [sales.usa@global.dahuatech.com](mailto:sales.usa@global.dahuatech.com)]

* + 1. Substitutions: [Not permitted.] [Under provisions of Division 1.]
       1. [All proposed substitutions must be approved by the Architect or Engineer professional.]
       2. [Proposed substitutions must provide a line-by-line compliance documentation.]
  1. 2 MP STARLIGHT 4X NETWORK WIFI PTZ CAMERA [22204UENI-W]  
     1. General Characteristics:
        1. The 2 MP Starlight Network WiFi PTZ camera shall be a full-featured 2 MP network camera designed for discrete video surveillance applications in indoor and outdoor environments.
        2. The 2 MP Starlight Network WiFi PTZ camera shall support the IEEE 802.11b/g/n WiFi networks.
        3. The 2 MP Starlight Network WiFi PTZ camera shall operate on the WiFi 2.4 GHz band.
        4. The 2 MP Starlight PTZ camera shall provide direct network connection using Smart H.265+ andH.264 compression and bandwidth throttling to efficiently manage bandwidth and storage requirements while delivering outstanding image quality.
        5. The 2 MP Starlight Network WiFi PTZ camera shall offer Starlight Technology for ultra-low light sensitivity that produces color images in light down to 0.005 lux at F1.6.
        6. The 2 MP Starlight Network WiFi PTZ camera shall achieve an operational temperature down to –30 °C (–22 °F).
        7. The 2 MP Starlight Network WiFi PTZ camera shall offer a 1/2.8 in. STARVIS™ CMOS sensor with an effective pixel density of 1920 x 1080 at 30 fps.
        8. The 2 MP Starlight Network WiFi PTZ camera shall have a motorized lens with a focal length between 2.7 mm to 11.0 mm and an autofocus lens with 4x optical zoom.
        9. The 2 MP Starlight Network WiFi PTZ camera shall offer True Wide Dynamic Range (120 dB) for clear images in extreme high-contrast environments.
        10. The 2 MP Starlight Network WiFi PTZ camera shall offer an Intelligent Video System with facial detection.
        11. The 2 MP Starlight Network WiFi PTZ camera housing shall conform to the IP66 Ingress Protection rating.
        12. The 2 MP Starlight Network WiFi PTZ camera housing shall conform to the IK10 Vandal Resistance standard.
     2. Imaging
        1. The 2 MP Starlight Network WiFi PTZ camera shall offer a 1/2.8-inch type STARVIS™ Sensor.
        2. The 2 MP Starlight Network WiFi PTZ camera shall offer an effective number of pixels of 1920(H) x 1080(V), 2 MP effective picture elements.
        3. The 2 MP Starlight Network WiFi PTZ camera shall offer a 4x optical zoom lens   
           (2.7 mm to 11.0 mm) with a further 16x digital zoom.
        4. The 2 MP Starlight Network WiFi PTZ camera shall have a horizontal angle of view of between 30° to 112.5°.
        5. The 2 MP Starlight Network WiFi PTZ camera shall offer a maximum aperture of F1.6.
        6. The 2 MP Starlight Network WiFi PTZ camera shall produce a color image with a minimum scene illumination of 0.005 lux at F1.6 and a monochrome image with a minimum illumination of 0.0005 lux at F1.6.
        7. The 2 MP Starlight Network WiFi PTZ camera shall offer automatic focus and iris control with manual override.
        8. The 2 MP Starlight Network WiFi PTZ camera shall offer a dynamic range of 120 dB.
     3. PTZ Features
        1. The 2 MP Starlight Network WiFi PTZ camera shall provide a pan range of 355°.
        2. The 2 MP Starlight Network WiFi PTZ camera shall provide a tilt angle of 0° to 90° relative to the horizon.
        3. The 2 MP Starlight Network WiFi PTZ camera shall provide an automatic flip feature to automatically rotate and flip the camera as it tilts through the vertical position to maintain the correct orientation of the image.
        4. The 2 MP Starlight Network WiFi PTZ camera shall provide the following modes for variable pan/tilt speeds:
           1. Manual Control:

Pan: 0.1°/s to 100°/s

Tilt: 0.1°/s to 60°/s

* + - * 1. Preset Mode:

Pan: 100°/s

Tilt: 60°/s

* + - 1. The 2 MP Starlight Network WiFi PTZ camera shall provide a feature that automatically rotates, or pivots, the camera to simplify tracking of a person walking directly under the camera.
      2. The 2 MP Starlight Network WiFi PTZ camera shall support 300 presets.
      3. The 2 MP Starlight Network WiFi PTZ camera shall support the following PTZ modes:
         1. Five (5) PTZ pattern modes.
         2. Eight (8) PTZ tour modes.
         3. One (1) Auto Pan mode.
         4. One (1) Auto Scan mode.
      4. The 2 MP Starlight Network WiFi PTZ camera shall automatically activate a preset, pan, scan, tour, or pattern mode if the camera does not receive a command during a specified period.
      5. The 2 MP Starlight Network WiFi PTZ camera shall automatically restore the previous PTZ and lens status after the camera powers up after a power failure.
      6. The 2 MP Starlight Network WiFi PTZ camera shall support the DH-SD protocol.
    1. DORI Distance
       1. The 2 MP Starlight Network WiFi PTZ camera shall to conform to EN 62676-4, the standard that defines the criteria for the Detect, Observe, Recognize, and Identify classifications.
       2. The 2 MP Starlight Network WiFi PTZ camera shall offer the following detect, observe, recognize, and identify distances:
          1. Detect (8 ppf): 124 m (407 ft)
          2. Observe (19 ppf): 50 m (163 ft)
          3. Recognize (38 ppf): 25 m (81 ft)
          4. Identify (76 ppf): 12 m (40 ft)
    2. Video Characteristics
       1. The 2 MP Starlight Network WiFi PTZ camera shall offer CBR/VBR bit rate control.
       2. The 2 MP Starlight Network WiFi PTZ camera shall offer the following video compression protocols
          1. H.265 (448 K to 8192 Kbps)
          2. H.264 (448 K to 8192 Kbps)
       3. The 2 MP Starlight Network WiFi PTZ shall offer BLC, HLC, and True WDR modes of backlight compensation.
       4. The 2 MP Starlight Network WiFi PTZ shall offer Auto, ATW, Indoor, Outdoor, and Manual modes.
       5. The 2 MP Starlight Network WiFi PTZ shall offer Ultra DNR (2D/3D) noise reduction.
       6. The 2 MP Starlight Network WiFi PTZ shall offer 24 privacy masking areas.
    3. Streaming Capability
       1. The 2 MP Starlight Network WiFi PTZ camera shall generate full 2 MP (1920 x 1080 pixels) at 30 fps resolution using H.265 compression.
       2. The 2 MP Starlight Network WiFi PTZ shall offer Unicast and Multicast streaming methods.
       3. The 2 MP Starlight Network WiFi PTZ camera shall offer the following resolutions:
          1. 1080p (1920 x 1080)
          2. 720p (1280 x 720)
          3. D1 (704 x 480)
          4. CIF (352 x 240)
       4. The 2 MP Starlight Network WiFi PTZ camera shall generate three streams at the following maximum resolutions:
          1. Main Stream: 1080p, 720p or D1 at 30 fps
          2. Sub Stream 1: D1 or CIF at 30 fps
          3. Sub Stream 2: 720p, D1, or CIF at 30 fps
    4. IP Connectivity
       1. The 2 MP Starlight Network WiFi PTZ camera shall allow full camera control and configuration capabilities via a TCP/IP network.
       2. The 2 MP Starlight Network WiFi PTZ camera shall deliver 2 MP video, at rates up to 30 frames per second via TCP/IP over an RJ-45 (10 Base-T/100 Base-TX) connection.
       3. The 2 MP Starlight Network WiFi PTZ camera shall conform to the ONVIF, PSIA, and the CGI standard.
       4. The 2 MP Starlight Network WiFi PTZ camera shall offer Quality of Service (QoS) configuration options.
       5. The 2 MP Starlight Network WiFi PTZ camera shall support the IPv6 internet-layer protocol for packet switched internetworking across multiple IP networks.
       6. The 2 MP Starlight Network WiFi PTZ camera shall offer local and network storage options that include: MicroSD, Network Attached Storage (NAS), and recording to a local PC for instant recording.
       7. The 2 MP Starlight Network WiFi PTZ camera shall support the following protocols: IPv4/IPv6, HTTP, HTTPS, SSL, TCP/IP, UDP, UPnP, ICMP, IGMP, SNMP, RTSP, RTP, SMTP, NTP, DHCP, DNS, PPPOE, DDNS, FTP, IP Filter, QoS, Bonjour, 802.1x
       8. The 2 MP Starlight Network WiFi PTZ camera shall support the Smart PSS and DSS management software.
       9. The 2 MP Starlight Network WiFi PTZ camera shall support the Android and the IOS mobile operating systems.
    5. Intelligent Video System
       1. The Intelligent Video System shall offer intelligent video analytics built-in to the 2 MP Starlight PTZ camera.
       2. The Intelligent Video System shall be capable of processing and analyzing video within the camera itself, with no extra hardware required.
    6. Installation Requirements
       1. The 2 MP Starlight Network WiFi PTZ camera shall be capable of operating in an outdoor environment within a temperature range of –30 °C to +60 °C   
          (–22 °F to 140 °F).
       2. The 2 MP Starlight Network WiFi PTZ camera shall require 12 VDC, 1.5 A.
    7. Housing
       1. The 2 MP Starlight Network WiFi PTZ camera shall be offered in a metal housing.
       2. The 2 MP Starlight Network WiFi PTZ camera housing shall conform to the IP66 Ingress Protection standard.
       3. The 2 MP Starlight Network WiFi PTZ camera housing shall conform to the IK10 Vandal Resistance standard.

2.3 ACCESSORIES

* + 1. The 2 MP Starlight Network WiFi PTZ camera shall offer the following accessories:
       1. Optional mounting hardware:
          1. [Mount adapter.]
          2. [Wall mount.]
          3. [Pole mount.]
          4. [Corner mount.]
          5. [Power adapter.]

1. **– EXECUTION**
   1. EXAMINATION
      1. Examine areas to receive devices and notify adverse conditions affecting installation or subsequent operation.
      2. Do not begin installation until unacceptable conditions are corrected.
   2. PREPARATION
      1. Protect devices from damage during construction.
   3. INSTALLATION
      1. Install devices in accordance with manufacturer’s instruction at locations indicated on the floor drawings plans.
      2. Perform installation with qualified service personnel.
      3. Install devices in accordance with the National Electrical Code or applicable local codes.
      4. Ensure selected location is secure and offers protection from accidental damage.
      5. Location must provide reasonable temperature and humidity conditions, free from sources of electrical and electromagnetic interference.
   4. FIELD QUALITY CONTROL
      1. Test snugness of mounting screws of all installed equipment.
      2. Test proper operation of all video system devices.
      3. Determine and report all problems to the manufacturer’s customer service department.
   5. ADJUSTING
      1. Make proper adjustment to video system devices for correct operation in accordance with manufacturer’s instructions.
      2. Make any adjustment of camera settings to comply with specific customer’s need.
   6. DEMOSTRATION
      1. Demonstrate at final inspection that video management system and devices functions properly.

END OF SECTION